## Standards
standardID | CH4 | CO2 | N2O
Std1 | 1.26 | 200 | 0.1995
Std2 | 1.83 | 344 | 0.285
Std3 | 5.16 | 678 | 0.49
Std4 | 101.1 | 4941 | 0.975

## Chambers
site | chamberID | diameter_cm | height_cm | area_m2 | volume_m3 | lon | lat | Easting | Northing
EB | 1 | 39.9 | 24.72 | 0.12504 | 0.030909 | -3 | 56 | 500000 | 600000
EB | 2 | 39.9 | 23.42 | 0.12504 | 0.029283 | -3 | 56 | 500000 | 600000
EB | 3 | 39.9 | 26.32 | 0.12504 | 0.03291 | -3 | 56 | 500000 | 600000
EB | 4 | 39.9 | 25.16 | 0.12504 | 0.031459 | -3 | 56 | 500000 | 600000
EB | 5 | 39.9 | 25.07 | 0.12504 | 0.031347 | -3 | 56 | 500000 | 600000
EB | 6 | 39.9 | 24.33 | 0.12504 | 0.030421 | -3 | 56 | 500000 | 600000
EB | 7 | 39.9 | 25.94 | 0.12504 | 0.032434 | -3 | 56 | 500000 | 600000
EB | 8 | 39.9 | 23.89 | 0.12504 | 0.029871 | -3 | 56 | 500000 | 600000
EB | 9 | 39.9 | 24.18 | 0.12504 | 0.030234 | -3 | 56 | 500000 | 600000
EB | 10 | 39.9 | 24.18 | 0.12504 | 0.030234 | -3 | 56 | 500000 | 600000
EB | 11 | 39.9 | 24.18 | 0.12504 | 0.030234 | -3 | 56 | 500000 | 600000
EB | 12 | 39.9 | 24.18 | 0.12504 | 0.030234 | -3 | 56 | 500000 | 600000
EB | 13 | 39.9 | 24.18 | 0.12504 | 0.030234 | -3 | 56 | 500000 | 600000
EB | 14 | 39.9 | 24.18 | 0.12504 | 0.030234 | -3 | 56 | 500000 | 600000

## Flux_Measurements
site | year | mon | mday | chamberID | mmntID | date | startTime | Temperature_degC | Pressure_mb | Soil_moisture_% | Nitrate_conc_g_kg
EB | 2013 | 6 | 6 | 1 | EB_2013_06_06_01 | 2013-06-06 | 10:25 | 16 | 1000 | 33.5 | 5
EB | 2013 | 6 | 6 | 2 | EB_2013_06_06_02 | 2013-06-06 | 10:26 | 17 | 1000 | 33.5 | 1
EB | 2013 | 6 | 6 | 3 | EB_2013_06_06_03 | 2013-06-06 | 10:28 | 16.1 | 1000 | 36.3 | 2
EB | 2013 | 6 | 6 | 4 | EB_2013_06_06_04 | 2013-06-06 | 10:30 | 15.9 | 1000 | 40.9 | 3
EB | 2013 | 6 | 6 | 5 | EB_2013_06_06_05 | 2013-06-06 | 10:32 | 16 | 1000 | 40.7 | 4
EB | 2013 | 6 | 6 | 6 | EB_2013_06_06_06 | 2013-06-06 | 10:33 | 16.2 | 1000 | 38.6 | 6
EB | 2013 | 6 | 6 | 7 | EB_2013_06_06_07 | 2013-06-06 | 10:35 | 17.1 | 1000 | 38.6 | 7
EB | 2013 | 6 | 6 | 8 | EB_2013_06_06_08 | 2013-06-06 | 10:36 | 17.3 | 1000 | 38.5 | 8
EB | 2013 | 6 | 6 | 9 | EB_2013_06_06_09 | 2013-06-06 | 10:38 | 16.3 | 1000 | 39.1 | 4
EB | 2013 | 6 | 6 | 10 | EB_2013_06_06_10 | 2013-06-06 | 10:40 | 16.3 | 1000 | 39.1 | 4
EB | 2013 | 6 | 6 | 11 | EB_2013_06_06_11 | 2013-06-06 | 10:42 | 16.3 | 1000 | 39.1 | 4
EB | 2013 | 6 | 6 | 12 | EB_2013_06_06_12 | 2013-06-06 | 10:44 | 16.3 | 1000 | 39.1 | 4
EB | 2013 | 6 | 6 | 13 | EB_2013_06_06_13 | 2013-06-06 | 10:46 | 16.3 | 1000 | 39.1 | 4
EB | 2013 | 6 | 6 | 14 | EB_2013_06_06_14 | 2013-06-06 | 10:48 | 16.3 | 1000 | 39.1 | 4
Note on B1: plevy: Sampling date, not analysis date

## GC_samples
GC_filename | Sample | site | year | mon | mday | chamberID | time_label | Sample Name | time_mins | Valid sample
S:\GC\James_2013_06_06.xls | conditioning std | EB | 2013 | 6 | 6 | cond std | 1 | EB_2013_06_06_ cond std_01 | 0 | 1
S:\GC\James_2013_06_06.xls | Std1 | EB | 2013 | 6 | 6 | Std1 | 1 | EB_2013_06_06_Std1_01 | 0 | 1
S:\GC\James_2013_06_06.xls | Std2 | EB | 2013 | 6 | 6 | Std2 | 1 | EB_2013_06_06_Std2_01 | 0 | 1
S:\GC\James_2013_06_06.xls | Std3 | EB | 2013 | 6 | 6 | Std3 | 1 | EB_2013_06_06_Std3_01 | 0 | 1
S:\GC\James_2013_06_06.xls | Std4 | EB | 2013 | 6 | 6 | Std4 | 1 | EB_2013_06_06_Std4_01 | 0 | 1
S:\GC\James_2013_06_06.xls | 1 James column Day 23 260613 | EB | 2013 | 6 | 6 | 1 | 0 | EB_2013_06_06_01_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 2 | EB | 2013 | 6 | 6 | 1 | 15 | EB_2013_06_06_01_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 3 | EB | 2013 | 6 | 6 | 1 | 30 | EB_2013_06_06_01_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 4 | EB | 2013 | 6 | 6 | 1 | 45 | EB_2013_06_06_01_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 5 | EB | 2013 | 6 | 6 | 2 | 0 | EB_2013_06_06_02_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 6 | EB | 2013 | 6 | 6 | 2 | 15 | EB_2013_06_06_02_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 7 | EB | 2013 | 6 | 6 | 2 | 30 | EB_2013_06_06_02_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 8 | EB | 2013 | 6 | 6 | 2 | 45 | EB_2013_06_06_02_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 9 | EB | 2013 | 6 | 6 | 3 | 0 | EB_2013_06_06_03_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 10 | EB | 2013 | 6 | 6 | 3 | 15 | EB_2013_06_06_03_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 11 | EB | 2013 | 6 | 6 | 3 | 30 | EB_2013_06_06_03_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 12 | EB | 2013 | 6 | 6 | 3 | 45 | EB_2013_06_06_03_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 13 | EB | 2013 | 6 | 6 | 4 | 0 | EB_2013_06_06_04_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 14 | EB | 2013 | 6 | 6 | 4 | 15 | EB_2013_06_06_04_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 15 | EB | 2013 | 6 | 6 | 4 | 30 | EB_2013_06_06_04_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 16 | EB | 2013 | 6 | 6 | 4 | 45 | EB_2013_06_06_04_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 17 | EB | 2013 | 6 | 6 | 5 | 0 | EB_2013_06_06_05_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 18 | EB | 2013 | 6 | 6 | 5 | 15 | EB_2013_06_06_05_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 19 | EB | 2013 | 6 | 6 | 5 | 30 | EB_2013_06_06_05_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 20 | EB | 2013 | 6 | 6 | 5 | 45 | EB_2013_06_06_05_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 21 | EB | 2013 | 6 | 6 | 6 | 0 | EB_2013_06_06_06_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 22 | EB | 2013 | 6 | 6 | 6 | 15 | EB_2013_06_06_06_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 23 | EB | 2013 | 6 | 6 | 6 | 30 | EB_2013_06_06_06_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 24 | EB | 2013 | 6 | 6 | 6 | 45 | EB_2013_06_06_06_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 25 | EB | 2013 | 6 | 6 | 7 | 0 | EB_2013_06_06_07_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 26 | EB | 2013 | 6 | 6 | 7 | 15 | EB_2013_06_06_07_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 27 | EB | 2013 | 6 | 6 | 7 | 30 | EB_2013_06_06_07_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 28 | EB | 2013 | 6 | 6 | 7 | 45 | EB_2013_06_06_07_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 29 | EB | 2013 | 6 | 6 | 8 | 0 | EB_2013_06_06_08_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 30 | EB | 2013 | 6 | 6 | 8 | 15 | EB_2013_06_06_08_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 31 | EB | 2013 | 6 | 6 | 8 | 30 | EB_2013_06_06_08_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 32 | EB | 2013 | 6 | 6 | 8 | 45 | EB_2013_06_06_08_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 33 | EB | 2013 | 6 | 6 | 9 | 0 | EB_2013_06_06_09_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 34 | EB | 2013 | 6 | 6 | 9 | 15 | EB_2013_06_06_09_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 35 | EB | 2013 | 6 | 6 | 9 | 30 | EB_2013_06_06_09_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 36 | EB | 2013 | 6 | 6 | 9 | 45 | EB_2013_06_06_09_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 37 | EB | 2013 | 6 | 6 | 10 | 0 | EB_2013_06_06_10_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 38 | EB | 2013 | 6 | 6 | 10 | 15 | EB_2013_06_06_10_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 39 | EB | 2013 | 6 | 6 | 10 | 30 | EB_2013_06_06_10_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 40 | EB | 2013 | 6 | 6 | 10 | 45 | EB_2013_06_06_10_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 41 | EB | 2013 | 6 | 6 | 11 | 0 | EB_2013_06_06_11_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 42 | EB | 2013 | 6 | 6 | 11 | 15 | EB_2013_06_06_11_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 43 | EB | 2013 | 6 | 6 | 11 | 30 | EB_2013_06_06_11_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 44 | EB | 2013 | 6 | 6 | 11 | 45 | EB_2013_06_06_11_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 45 | EB | 2013 | 6 | 6 | 12 | 0 | EB_2013_06_06_12_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 46 | EB | 2013 | 6 | 6 | 12 | 15 | EB_2013_06_06_12_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 47 | EB | 2013 | 6 | 6 | 12 | 30 | EB_2013_06_06_12_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 48 | EB | 2013 | 6 | 6 | 12 | 45 | EB_2013_06_06_12_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 49 | EB | 2013 | 6 | 6 | 13 | 0 | EB_2013_06_06_13_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 50 | EB | 2013 | 6 | 6 | 13 | 15 | EB_2013_06_06_13_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 51 | EB | 2013 | 6 | 6 | 13 | 30 | EB_2013_06_06_13_30 | 32 | 1
S:\GC\James_2013_06_06.xls | 52 | EB | 2013 | 6 | 6 | 13 | 45 | EB_2013_06_06_13_45 | 43 | 1
S:\GC\James_2013_06_06.xls | 53 | EB | 2013 | 6 | 6 | 14 | 0 | EB_2013_06_06_14_00 | 0 | 1
S:\GC\James_2013_06_06.xls | 54 | EB | 2013 | 6 | 6 | 14 | 15 | EB_2013_06_06_14_15 | 14 | 1
S:\GC\James_2013_06_06.xls | 55 | EB | 2013 | 6 | 6 | 14 | 30 | EB_2013_06_06_14_30 | 32 | 1
S:\GC\James_2013_06_06.xls | Std1 | EB | 2013 | 6 | 6 | Std1 | 2 | EB_2013_06_06_Std1_02 |  | 1
S:\GC\James_2013_06_06.xls | Std2 | EB | 2013 | 6 | 6 | Std2 | 2 | EB_2013_06_06_Std2_02 |  | 1
S:\GC\James_2013_06_06.xls | Std3 | EB | 2013 | 6 | 6 | Std3 | 2 | EB_2013_06_06_Std3_02 |  | 1
S:\GC\James_2013_06_06.xls | Std4 | EB | 2013 | 6 | 6 | Std4 | 2 | EB_2013_06_06_Std4_02 |  | 1
Note on D1: plevy: Sampling date, not analysis date
Note on J1: plevy: Only needed if there is a more exact time recorded

## GC_data
HeaderName | HeaderValue | Sample | Location | Inj | SampleType | Run | Air¦Area | Air¦RT | Air¦Amount | Methane¦Area | Methane¦RT | Methane¦Amount | Carbon dioxide¦Area | Carbon dioxide¦RT | Carbon dioxide¦Amount | Nitrous oxide ¦Area | Nitrous oxide ¦RT | Nitrous oxide ¦Amount
NumberOfRows | 64 | conditioning std | P3-D-08 | 1 | 1 | 1 | 73491.2812 | 0.81695 | 1108240.381 | 3.9821 | 1.1207 | 2.3889 | 0 | 0 | 0 | 80.5443 | 2.128 | 5.9336
NumberOfCol | 17 | Std1 | P1-A-01 | 1 | 3 | 2 | 73087.0234 | 0.81771 | 998990 | 3.9445 | 1.1261 | 2.8016 | 38.0861 | 1.757 | 467.183 | 97.7264 | 2.129 | 0.44965
NumberOfHead | 4 | Std2 | P1-A-02 | 1 | 3 | 3 | 73624.75 | 0.8115 | 1006339.9157 | 10.9743 | 1.1181 | 0 | 89.8409 | 1.7554 | 1091.1372 | 219.0594 | 2.1307 | 7.4193
Modified | 1 | Std3 | P1-A-03 | 1 | 3 | 4 | 73372.9062 | 0.8203 | 1002897.5893 | 6.9175 | 1.1253 | 0 | 431.17 | 1.763 | 5859.2913 | 988.4997 | 2.1402 | 0
|  | Std4 | P1-A-04 | 1 | 3 | 5 | 73011.9062 | 0.80569 | 997963.2607 | 24.0183 | 1.108 | 21.9997 | 864.4293 | 1.7465 | 10183.5585 | 1755.0179 | 2.1264 | 10.6945
|  | 1 James column Day 23 260613 | P1-A-05 | 1 | 1 | 6 | 72855.2578 | 0.82339 | 995822.1115 | 4.1836 | 1.1323 | 3.0302 | 56.0306 | 1.7626 | 678.1792 | 74.7775 | 2.1364 | 0.34318
|  | 2 | P1-A-06 | 1 | 1 | 7 | 72575.9531 | 0.82482 | 992004.4353 | 4.2014 | 1.1351 | 3.0472 | 71.3762 | 1.7636 | 858.6172 | 99.5572 | 2.138 | 0.45816
|  | 3 | P1-A-07 | 1 | 1 | 8 | 72580.8672 | 0.81518 | 992071.6032 | 4.2469 | 1.1272 | 3.0907 | 72.1505 | 1.7544 | 867.7216 | 107.3464 | 2.1287 | 0.49444
|  | 4 | P1-A-08 | 1 | 1 | 9 | 72661.7031 | 0.81954 | 993176.5092 | 4.3152 | 1.1338 | 3.156 | 105.3686 | 1.7584 | 1258.3095 | 96.0699 | 2.1273 | 0.44194
|  | 5 | P1-B-01 | 1 | 1 | 10 | 72741.6016 | 0.82825 | 994268.601 | 4.4491 | 1.1357 | 3.2841 | 90.4159 | 1.7668 | 1082.4913 | 93.8169 | 2.1473 | 0.43147
|  | 6 | P1-B-02 | 1 | 1 | 11 | 72467.7344 | 0.82261 | 990525.2473 | 4.4436 | 1.1375 | 3.2789 | 119.1864 | 1.7613 | 1420.7827 | 98.8015 | 2.14 | 0.45465
|  | 7 | P1-B-03 | 1 | 1 | 12 | 72525.7188 | 0.82289 | 991317.8067 | 4.391 | 1.1326 | 3.2286 | 96.1211 | 1.7615 | 1149.5746 | 103.5559 | 2.1322 | 0.47678
|  | 8 | P1-B-04 | 1 | 1 | 13 | 72375.8828 | 0.82052 | 989269.7742 | 4.3325 | 1.1324 | 3.1726 | 119.256 | 1.7592 | 1421.6004 | 102.729 | 2.1335 | 0.47293
|  | 9 | P1-B-05 | 1 | 1 | 14 | 72497.0469 | 0.8287 | 990925.9052 | 4.6408 | 1.1403 | 3.4674 | 132.2906 | 1.7673 | 1574.8661 | 97.8744 | 2.1418 | 0.45033
|  | 10 | P1-B-06 | 1 | 1 | 15 | 72062.8984 | 0.81611 | 984991.7472 | 4.1583 | 1.124 | 3.006 | 129.6352 | 1.7543 | 1543.6429 | 98.6978 | 2.1296 | 0.45416
|  | 11 | P1-B-07 | 1 | 1 | 16 | 72447.6953 | 0.82202 | 990251.3433 | 4.2012 | 1.1302 | 3.0471 | 117.4336 | 1.761 | 1400.1723 | 98.6376 | 2.135 | 0.45388
|  | 12 | P1-B-08 | 1 | 1 | 17 | 72189.3906 | 0.81278 | 986720.7057 | 4.1914 | 1.126 | 3.0377 | 116.3119 | 1.7514 | 1386.9835 | 86.2695 | 2.1298 | 0.39643
|  | 13 | P1-C-01 | 1 | 1 | 18 | 72478.7812 | 0.82743 | 990676.2415 | 4.3633 | 1.14 | 3.2021 | 111.4222 | 1.7664 | 1329.4889 | 76.9922 | 2.1221 | 0.35343
|  | 14 | P1-C-02 | 1 | 1 | 19 | 72263.7969 | 0.82256 | 987737.7275 | 4.4033 | 1.1356 | 3.2403 | 116.1515 | 1.7612 | 1385.0977 | 87.8829 | 2.133 | 0.40391
|  | 15 | P1-C-03 | 1 | 1 | 20 | 72384.0312 | 0.82758 | 989381.1511 | 4.2738 | 1.1416 | 3.1165 | 121.251 | 1.7663 | 1445.0593 | 109.6778 | 2.1418 | 0.50531
|  | 16 | P1-C-04 | 1 | 1 | 21 | 71993.1953 | 0.82032 | 984039.01 | 3.906 | 1.1361 | 2.7647 | 125.9915 | 1.7588 | 1500.799 | 97.4292 | 2.1336 | 0.44826
|  | 17 | P1-C-05 | 1 | 1 | 22 | 72221.75 | 0.82636 | 987163.0098 | 4.2646 | 1.1357 | 3.1077 | 139.1578 | 1.7649 | 1655.6123 | 81.462 | 2.1336 | 0.37414
|  | 18 | P1-C-06 | 1 | 1 | 23 | 72084.9688 | 0.82095 | 985293.4152 | 4.2559 | 1.1328 | 3.0994 | 128.2156 | 1.7593 | 1526.9504 | 102.4782 | 2.1358 | 0.47176
|  | 19 | P1-C-07 | 1 | 1 | 24 | 72329.4609 | 0.8185 | 988635.2568 | 4.4049 | 1.1336 | 3.2419 | 193.2988 | 1.757 | 2292.2177 | 96.3541 | 2.1353 | 0.44326
|  | 20 | P1-C-08 | 1 | 1 | 25 | 72033.4062 | 0.81407 | 984588.6332 | 4.1186 | 1.1231 | 2.9681 | 138.7806 | 1.7524 | 1651.1771 | 97.8913 | 2.1308 | 0.45041
|  | 21 | P1-D-01 | 1 | 1 | 26 | 72182.4219 | 0.8211 | 986625.4533 | 4.2764 | 1.1335 | 3.119 | 130.0159 | 1.7598 | 1548.1193 | 110.6721 | 2.1353 | 0.50995
|  | 22 | P1-D-02 | 1 | 1 | 27 | 72045.7188 | 0.81607 | 984756.9266 | 4.2062 | 1.1298 | 3.0519 | 146.3325 | 1.7546 | 1739.9738 | 85.0044 | 2.1256 | 0.39056
|  | 23 | P1-D-03 | 1 | 1 | 28 | 72240.3828 | 0.81496 | 987417.6924 | 4.1185 | 1.126 | 2.968 | 157.2364 | 1.7537 | 1868.1853 | 86.0469 | 2.1233 | 0.39539
|  | 24 | P1-D-04 | 1 | 1 | 29 | 71823.75 | 0.81366 | 981722.9467 | 4.0792 | 1.1228 | 2.9304 | 157.3288 | 1.7522 | 1869.2721 | 109.5443 | 2.131 | 0.50468
|  | 25 | P1-D-05 | 1 | 1 | 30 | 72077.7891 | 0.81408 | 985195.2797 | 4.1468 | 1.1262 | 2.995 | 190.6534 | 1.7526 | 2261.1118 | 86.6706 | 2.1291 | 0.39829
|  | 26 | P1-D-06 | 1 | 1 | 31 | 72043.8047 | 0.82774 | 984730.7642 | 4.5791 | 1.1378 | 3.4084 | 167.9213 | 1.7661 | 1993.8215 | 98.646 | 2.1436 | 0.45392
|  | 27 | P1-D-07 | 1 | 1 | 32 | 72111.7031 | 0.81963 | 985658.834 | 4.4599 | 1.129 | 3.2944 | 177.2968 | 1.7583 | 2104.0609 | 77.9238 | 2.1197 | 0.35775
|  | 28 | P1-D-08 | 1 | 1 | 33 | 72234.0469 | 0.82418 | 987331.0896 | 4.4243 | 1.1372 | 3.2605 | 124.5312 | 1.7629 | 1483.6282 | 110.0833 | 2.1356 | 0.5072
|  | 29 | P2-A-01 | 1 | 1 | 34 | 71991.7734 | 0.81357 | 984019.5751 | 4.0581 | 1.1306 | 2.9102 | 110.801 | 1.7522 | 1322.1849 | 176.434 | 2.1309 | 0.81902
|  | 30 | P2-A-02 | 1 | 1 | 35 | 72058.0859 | 0.81941 | 984925.9675 | 4.4815 | 1.133 | 3.3151 | 119.4568 | 1.7579 | 1423.9624 | 111.8137 | 2.1286 | 0.51527
|  | 31 | P2-A-03 | 1 | 1 | 36 | 71872.9531 | 0.81858 | 982395.4796 | 4.3756 | 1.126 | 3.2138 | 99.9687 | 1.7572 | 1194.8157 | 91.1715 | 2.1298 | 0.41918
|  | 32 | P2-A-04 | 1 | 1 | 37 | 71484.6484 | 0.81311 | 977087.9369 | 4.2047 | 1.1266 | 3.0504 | 113.7397 | 1.7516 | 1356.7393 | 80.4996 | 2.1069 | 0.36968
|  | 33 | P2-A-05 | 1 | 1 | 38 | 71624.8828 | 0.81372 | 979004.7305 | 4.2283 | 1.1245 | 3.073 | 107.7433 | 1.7521 | 1286.2312 | 98.3767 | 2.1238 | 0.45267
|  | 34 | P2-A-06 | 1 | 1 | 39 | 71553.4141 | 0.81435 | 978027.8598 | 4.3255 | 1.1265 | 3.1659 | 143.0879 | 1.7529 | 1701.8231 | 85.1727 | 2.1194 | 0.39134
|  | 35 | P2-A-07 | 1 | 1 | 40 | 71469.7812 | 0.81774 | 976884.7247 | 4.3993 | 1.131 | 3.2365 | 114.5085 | 1.756 | 1365.7782 | 125.6108 | 2.1273 | 0.57975
|  | 36 | P2-A-08 | 1 | 1 | 41 | 71753.7734 | 0.81703 | 980766.472 | 3.8896 | 1.1273 | 2.749 | 116.0001 | 1.7556 | 1383.3172 | 68.081 | 2.1375 | 0.31222
|  | 37 | P2-B-01 | 1 | 1 | 42 | 71586.4141 | 0.82226 | 978478.9203 | 4.4073 | 1.1374 | 3.2441 | 111.092 | 1.7612 | 1325.6063 | 96.2108 | 2.1379 | 0.4426
|  | 38 | P2-B-02 | 1 | 1 | 43 | 71525.4766 | 0.81765 | 977645.9961 | 4.0404 | 1.1316 | 2.8932 | 134.0703 | 1.7561 | 1595.7913 | 117.9336 | 2.1293 | 0.54385
|  | 39 | P2-B-03 | 1 | 1 | 44 | 71359.9219 | 0.81443 | 975383.1118 | 4.2077 | 1.1293 | 3.0532 | 125.6604 | 1.7527 | 1496.9053 | 73.6908 | 2.1303 | 0.33816
|  | 40 | P2-B-04 | 1 | 1 | 45 | 71432.8516 | 0.81621 | 976379.9513 | 4.2084 | 1.1269 | 3.054 | 130.0727 | 1.7545 | 1548.7866 | 68.0777 | 2.14 | 0.3122
|  | 41 | P2-B-05 | 1 | 1 | 46 | 71336.625 | 0.81457 | 975064.6785 | 4.1133 | 1.1284 | 2.963 | 129.8257 | 1.7526 | 1545.8823 | 123.9793 | 2.1263 | 0.57211
|  | 42 | P2-B-06 | 1 | 1 | 47 | 71506.6797 | 0.82857 | 977389.071 | 4.6633 | 1.1417 | 3.489 | 132.0677 | 1.7669 | 1572.2441 | 138.3528 | 2.1404 | 0.63947
|  | 43 | P2-B-07 | 1 | 1 | 48 | 71550.5625 | 0.8262 | 977988.8833 | 4.5748 | 1.14 | 3.4043 | 131.5479 | 1.7649 | 1566.1323 | 96.0847 | 2.1492 | 0.44201
|  | 44 | P2-B-08 | 1 | 1 | 49 | 71641.875 | 0.81848 | 979236.9882 | 4.3459 | 1.1326 | 3.1854 | 130.9842 | 1.757 | 1559.5049 | 89.5329 | 2.1164 | 0.41157
|  | 45 | P2-C-01 | 1 | 1 | 50 | 71627.1797 | 0.82885 | 979036.1253 | 4.6033 | 1.1424 | 3.4316 | 119.9098 | 1.7672 | 1429.289 | 80.4874 | 2.1351 | 0.36962
|  | 46 | P2-C-02 | 1 | 1 | 51 | 71419.9531 | 0.82284 | 976203.649 | 4.3759 | 1.137 | 3.2141 | 123.8436 | 1.7612 | 1475.5433 | 172.8447 | 2.1365 | 0.80203
|  | 47 | P2-C-03 | 1 | 1 | 52 | 71556.75 | 0.82263 | 978073.4571 | 4.3966 | 1.1369 | 3.2339 | 128.6329 | 1.761 | 1531.8571 | 175.3838 | 2.1329 | 0.81405
|  | 48 | P2-C-04 | 1 | 1 | 53 | 71502.25 | 0.82758 | 977328.5238 | 4.7921 | 1.1413 | 3.6122 | 123.2186 | 1.7663 | 1468.1944 | 93.0819 | 2.1417 | 0.42806
|  | 49 | P2-C-05 | 1 | 1 | 54 | 71650.1953 | 0.82266 | 979350.7144 | 4.3391 | 1.1367 | 3.1789 | 119.2295 | 1.7614 | 1421.2895 | 75.4431 | 2.145 | 0.34626
|  | 50 | P2-C-06 | 1 | 1 | 55 | 71460.0156 | 0.81706 | 976751.2433 | 4.4519 | 1.1364 | 3.2868 | 129.1708 | 1.7557 | 1538.1823 | 196.1613 | 2.1295 | 0.91265
|  | 51 | P2-C-07 | 1 | 1 | 56 | 71527.1953 | 0.81691 | 977669.4888 | 4.3121 | 1.1288 | 3.1531 | 130.7092 | 1.7555 | 1556.2704 | 240.7716 | 2.137 | 1.126
|  | 52 | P2-C-08 | 1 | 1 | 57 | 71643.7031 | 0.82961 | 979261.9759 | 4.541 | 1.1395 | 3.372 | 133.683 | 1.7685 | 1591.2381 | 217.7882 | 2.1394 | 1.0158
|  | 53 | P2-D-01 | 1 | 1 | 58 | 71477.2109 | 0.82617 | 976986.2774 | 4.7405 | 1.1403 | 3.5628 | 130.9598 | 1.7643 | 1559.2177 | 118.5859 | 2.1377 | 0.54689
|  | 54 | P2-D-02 | 1 | 1 | 59 | 71499.2188 | 0.82414 | 977287.0912 | 4.7231 | 1.1349 | 3.5462 | 135.3514 | 1.7624 | 1610.8552 | 118.3178 | 2.1347 | 0.54564
|  | 55 | P2-D-03 | 1 | 1 | 60 | 71299.9375 | 0.81486 | 974563.2154 | 4.1 | 1.13 | 2.9503 | 131.1286 | 1.753 | 1561.2029 | 69.6409 | 2.1358 | 0.31943
|  | Std1 | P2-D-04 | 1 | 3 | 61 | 72584.8984 | 0.82704 | 992126.7043 | 4.81 | 1.1393 | 3.6293 | 37.1748 | 1.7664 | 456.467 | 83.2012 | 2.1248 | 0.3822
|  | Std2 | P2-D-05 | 1 | 3 | 62 | 73242.6719 | 0.82255 | 1001117.4807 | 11.8555 | 1.1275 | 10.3675 | 88.723 | 1.7667 | 1062.5849 | 231.0446 | 2.1425 | 1.0793
|  | Std3 | P2-D-06 | 1 | 3 | 63 | 73034.6953 | 0.81972 | 998274.753 | 7.3951 | 1.1288 | 6.1016 | 433.4357 | 1.7624 | 5115.8142 | 1016.4673 | 2.1393 | 5.2887
|  | Std4 | P2-D-07 | 1 | 3 | 64 | 72539.7812 | 0.80732 | 991510.02 | 24.7123 | 1.1108 | 22.6635 | 864.9662 | 1.7482 | 10189.8718 | 1798.1448 | 2.1281 | 11.0997